Temperature Logger Deployment
Materials for deployment

· Temp logger 
· Logger housing and rebar
· Zip ties and latex gloves
· Permanent marker

· Cinder block (in case rebar will not work)

· Plastic coated wire, wire clamps, and wire cutters
· Heavy duty hammer/sledge hammer for pounding in rebar

· Handheld GPS (if available)
· Data sheets and pencils
· Digital camera (if available)

Deployment Procedure
· Write on PVC or attachable tag with permanent marker

· Please Do Not Disturb

Temperature Logger Schrems West Michigan Trout Unlimited

Contact jjflamming@ftch.com with questions
· Select appropriate site for logger placement
· For sites with maps and photos (Rogue) choose a location near where photos were taken
· The logger does not have to be in the exact location depicted use your judgment
· Try to choose a spot in the area where the logger can be placed up against the bank
· Make sure to document the logger location well
· Make sure water is flowing (run or riffle)

· Make sure logger will stay submerged all summer
· Pound rebar into streambed

· Place rebar out of the way; very close to the bank.  We want it to be camouflaged and we don’t want it to be a hazard to stream users.

· If rebar simply won’t work (can’t be pounded, no good spot etc.) use a cinder block instead (see directions below).
· Try to pound the rebar down far enough that it is slightly below the waters surface 

· Place the PVC a couple of inches off the bottom

· Make sure the number on the logger matches the logger number to be used at that site

· Sites and corresponding logger number are written on the outside of each ziploc bag

· The logger number is the last 2 digits of the serial number which is written in black on the blue logger label
· There is also a label affixed to each logger with the correct site

· Remove this label just before you deploy the logger 
· When rebar is in place

· Nestle logger in 1-2 latex gloves

· Tie gloves around logger using fingers so that the sensor end (end with hole) of the logger is exposed (not covered by glove)
· Remove top eye bolt from PVC and put the logger in the PVC pipe
· Replace top eye bolt

· Loosely connect the top eye bolt to the rebar with 2 to 3 zip ties
· Leave zip ties loose enough to allow you to move the housing down the rebar

· Lower the housing into place and tighten the zip ties
· When logger is in place in the stream

· Record the GPS location of the logger (if you have a GPS)
· Write down/draw landmarks describing where the logger is located

· Fill in information on “Temperature Logger Status Log”

· Take LOTS of pictures of the logger, logger housing, and site (If you have a camera)
· Record your time and mileage in your volunteer time and travel log!
If rebar won’t work

· Use a cinder block.

· Place the logger in the housing as described above

· Place the housing in one of the holes in the cinder block

· It is ok if it hangs out at one end

· String a length of wire through both the top and bottom eyebolts and around the cinder block

· Secure the ends of the wire around the cinder block 

· Place the cinder block in the appropriate location in the stream

· Document the site as described above
--OVER--

